## Slide 1: FOXSI flare HPD measurements version 3
Sept 2013

## Slide 3: Geometry for HPD

## Slide 4: Results: HPD ~50”-~75”

## Slide 5: Next steps:
Subtract background from measurement
  Not done yet; should be small effect.
Figure out effect of finite source size on HPD (next slides)

## Slide 6: Simulations of finite source size
Data from postflight calibration of X5.
Simulation: convolve with source 20” FWHM.
Effect on HPD is small.

## Slide 7: Next next steps
Do the flare image deconvolution.
  Maximum likelihood procedure in IDL.
  The deconvolved source can be more directly compared with the RHESSI source.
What do we use for a PSF?
  Measured postflight PSF? Need to smooth…
  Simulated PSF? Less noisy but lacks actual imperfect detail.