## Slide 1: Update on FOXSI-1 image deconvolution
2014 Jan 21

## Slide 2: Changes
Found bug in image binning!
  Redid analysis converting raw data directly into plot_maps and using only rot_map, etc.
Smooth PSF (see later)
Tried changing platescale (see later)

## Slide 3: Raw images, no deconvolution
Images have been rotated (using rot_map) according to their geometrical placement.
X-Y scale is arbitrary in these plots.

## Slide 4: Image deconvolution
Same as before, using IDL procedure
max_likelihood, raw_img, psf, deconv_img

## Slide 5
Det 6
5

## Slide 7
Det 4
5

## Slide 9
Det 5
5

## Slide 11
Detector 6 does better with less smoothing and with a *smaller* PSF?
Smooth = 5
PSF plate scale = 1.3”
(“correct” value)
Smooth = 2
PSF plate scale = 1.3”
Smooth = 2
PSF plate scale = 0.8”
Smooth = 2
PSF plate scale = 1.0”