## Slide 1: Update on FOXSI flare blanketing absorption characterization
Lindsay Glesener July 2014

## Slide 2: Latest absorption estimate
Notes: Note D3 isn’t realistic.

## Slide 3: Averaged 5-8 keV values
D0: n=6.6 (1275 photons*)
D1: n=7.2 (2789 photons*)
D2: n=7.2 (1667 photons*)
(D3): (n=10.0) (524 photons*)
D4: n=5.4 (2974 photons*)
D5: n=5.0 (2949 photons*)
D6: n=5.0 (3127 photons*)
*in Target 4 (first flare sighting)
Average over 5 best: 5.8 x nominal blanketing.
Offset (minimum from zero): 2.5% average

## Slide 4: Combined transmission